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BID DOCUMENTS

PROCUREMENT OF REPARE & MAINTENANCE SERVICES-LEITI DATA CENTER
(REQUEST FOR QUOTATIONS)
IFB NO.LEITI/SBA/RFQ/005/2026
LIBERIA EXTRACTIVE INDUSTRIES TRANSPARENCY INITIATIVES
Monrovia, Liberia
July 10, 2026
Section I. Invitation for Sealed Quotation
Name of Procurement Entity: Liberia Extractive Industries Transparency Initiative
Address of Procurement Entity: Behind The Old Budget Bureau
                                                    Opposite The Executive Mansion

                                                    Redemption Road
Sealed Quotation No: IFB NO.LEITI/SBA/RFQ/005/2026
Date of Invitation: July 10, 2026
1. The Liberia Extractive Industries Transparency Initiatives(LEITI) has received funds from the 2026 Fiscal year Budget of GIZ Liberia and intends to apply part of it towards the Repair and Maintenance of LEITI’s Data Center and now invites sealed quotations from eligible registered Repare & Maintenance Entities  for the Repare and Maintenance of LEITI Data Center.
2. Sealed quotations must be delivered to the above office on or before 12:00 Noon on July 24, 2026
Section II. Schedule of Requirements:
	DATA CENTER RENOVATION  REQUIREMENTS

	WELDING & FABRICATION: (Floor, Iron Door, Door Frame, Windows Frame & Roof Pillars)

	NO.
	MATERIAL / ITEM DESCRIPTION(WELDING)
	UNIT
	QTY
	UNIT PRICE
	TOTAL PRICE

	1
	Round Pipe 4" (Galvanaize) 
	Pcs
	7
	 
	            

	2
	Angle Bar 1.5"
	Pcs
	7
	 
	             

	3
	Angle Bar 2"
	Pcs
	7
	 
	 

	4
	Square Pipe 1.5"
	Pcs
	3
	
	 

	5
	Steel Plate 1.5mm
	Sheet
	1
	
	

	6
	Flat Bar 1.5mm
	Pcs
	2
	
	 

	7
	Welding Rod
	Kps
	3
	
	

	8
	Cutting Disk (small size)
	Pks
	2
	
	

	9
	Steel Bar ½
	Pcs
	9
	
	

	10
	Inside Door Lock (For Iron Door)
	Pc
	1
	
	

	11
	Bolt & Nut
	Pcs
	126
	
	

	12
	Fuel
	Gallons
	9
	
	

	13
	TOTAL MATERIAL COST
	 
	 
	
	

	CARPENTRY: (Roofing & Floor Work)

	
	

	NO.
	MATERIAL / ITEM DESCRIPTION
	UNIT
	QTY
	UNIT PRICE
	TOTAL PRICE
	

	1
	2X2 Plank
	Pcs
	18
	
	
	

	2
	2X4 Plank
	Pcs
	35
	
	
	

	3
	1X10 Plank (Faceboard)
	Pcs
	8
	
	
	

	4
	Zinc 32Gauge (Alloy)
	Bundles
	1.5
	
	
	

	5
	Zinc Nail
	Boxes
	5
	
	
	

	6
	Roofing Tape 4"
	Roll
	2
	
	
	

	7
	Wire Nail Carton 3" (50Pks Carton)
	Ctn
	1
	
	
	

	8
	Wire Nail Carton 4" (50Pks Carton)
	Ctn
	1
	
	
	

	9
	PVC Ceiling (20ftX
	Bundles
	2
	
	
	

	10
	Plywood (Firestone Rubber Wood)
	Sheets
	5
	
	
	

	11
	PVC Ceiling Corner Script
	Pcs
	4
	
	
	

	12
	Wood Screw 2"
	Pk
	1
	
	
	

	13
	Interlocking Floor Tile
	Ctn
	16
	
	
	

	14
	Cement
	Bags
	4
	
	
	

	15
	Sand
	Bags
	30
	
	
	

	16
	Crushed Rock
	Bags
	18
	
	
	

	17
	TOTAL MATERIAL COST
	 
	 
	 
	
	

	ELECTRICAL WORK
	

	NO.
	MATERIAL / ITEM DESCRIPTION
	UNIT
	QTY
	UNIT PRICE
	TOTAL PRICE
	

	1
	 Wire 2.5mmX1 
	 Roll 
	2
	
	
	

	2
	 Wire 10mmX1 
	 Rolls 
	2
	
	
	

	3
	 Cable Channel 25X16mm 
	 Pcs 
	20
	
	
	

	4
	 PVC Pice 3/4 
	 PCS 
	25
	
	
	

	5
	 Square Junction Cup PVC 4X4 
	 Boxes 
	4
	
	
	

	6
	 Round Junction Cup PVC 
	 Boxes 
	10
	
	
	

	7
	 Round Junction Cup Cover PVC 
	 Pcs 
	6
	
	
	

	8
	 Square Junction Cup Cover PVC 4X4 
	 Pcs 
	4
	
	
	

	9
	 Flourescent Light Bulb 60W 
	 Pcs 
	5
	
	
	

	10
	LED Fquare Fixture Ceiling Light
	Pcs
	3
	
	
	

	11
	Receptacle (HD)
	Pcs
	8
	
	
	

	12
	Utility Cup Surface
	Pcs
	10
	
	
	

	13
	A/C Receptacle C/W Switch (HD)
	Pcs
	1
	
	
	

	14
	Electrical Tape (33+)
	Rolls
	2
	
	
	

	15
	Double Pole Switch (HD)
	Pcs
	1
	
	
	

	16
	 Double Breaker 25A (C/W Housing) 
	 Pc 
	1
	
	
	

	17
	TOTAL MATERIAL COST
	 
	 
	
	
	

	WINDOW GLASS WORK
	

	
	

	NO.
	MATERIAL / ITEM DESCRIPTION
	UNIT
	QTY
	UNIT PRICE
	TOTAL PRICE
	

	1
	Window Net
	Roll
	1
	
	
	

	2
	Net Rubber
	Roll
	1
	
	
	

	3
	Zebra Screw
	Pk
	2
	
	
	

	4
	Glass Cleaner
	Bottle
	5
	
	
	

	5
	Glass Door with Lock (Single Swing)
	Set
	1
	
	
	

	6
	TOTAL MATERIAL COST
	 
	 
	
	
	

	PAINTING WORK
	

	
	

	NO.
	MATERIAL / ITEM DESCRIPTION
	UNIT
	QTY
	UNIT PRICE
	TOTAL PRICE
	

	1
	White Oil Paint (Britone)
	Bucket
	1
	
	
	

	2
	Civil Gray Oil Paint (Britone)
	Bucket
	70
	
	
	

	3
	Thinner (Britone)
	Gallons
	4
	
	
	

	4
	Wall Putty (Britone)
	Bags
	1
	
	
	

	5
	Paint Roller 9"
	Pcs
	2
	
	
	

	6
	Paint Brush 2"
	Pcs
	4
	
	
	

	7
	Sand Paper (P-150)
	Pcs
	5
	
	
	

	8
	Black Anti Rust (Britone)
	Gallons
	2
	
	
	

	9
	TOTAL MATERIAL COST
	 
	 
	 
	 
	

	INTERIOR DOCURATION
	

	
	

	NO.
	MATERIAL / ITEM DESCRIPTION
	UNIT
	QTY
	UNIT PRICE
	TOTAL PRICE
	

	1
	Rug (32 square ft )
	Sq. ft
	32
	
	
	

	2
	Computer Desk 1000 (OT-MH1 OPD32)
	Pc
	4
	
	
	

	3
	Visitor Chairs
	Pc
	6
	
	
	

	4
	Desktop( Lenovo YOGA) Computer
	Set
	2
	
	
	

	5
	File Cabinet 2000(2D-Glass Medina)
	Pc
	2
	
	
	

	6
	Air Condition(18,000 BTU- Samsung)
	Pc
	1
	
	
	

	7
	TV ( Heisence 43")
	Set
	1
	
	
	

	9
	TOTAL MATERIAL COST
	 
	 
	 
	
	

	 
	

	SUMMARY DATA CENTER RENOVATION COST
	

	NO.
	MATERIAL / ITEM DESCRIPTION
	TOTAL PRICE
	

	1
	WELDING  & FABRICATION MATERIAL COST
	                                                                                                                    
	

	2
	CAPENTRY MATERIAL COST
	                                                                                                                          
	

	3
	ELECTRICAL MATERIAL COST
	                                                                                                                             
	

	4
	WINDOW GLASS MATERIAL COST
	                                                                                                                             
	

	5
	PAINTING COST
	                                                                                                                          
	

	6
	INTERIOR DOCURATION COST
	                                                                                                                           
	

	7
	GRAND TOTAL MATERIAL COST
	 
	 
	


The quotation, which is to be in a sealed envelop shall be submitted to the below address:

Procurement Office
Liberia Extractive Industries Transparency Initiatives (LEITI)

Old Budget Bureau Building

Adjacent The Executive Mansion

Tel: +231 775 542 486

Email: plan2034life@gmail.com 

Currency: The prices shall be quoted in the United States Dollars

Payment Term: Payment shall be made upon the completion of  repare and maintenance services according to the specification in the contract document.

Basis of Award: Award will be based on the vendor who meets all of the requirements specified in the Request for Quotation (RFQ).

Evaluation Qualification:

The Purchaser will evaluate and compare the quotations as follows:
· Quotation conformation to Technical Specifications and the delivery time;

· Verify any arithmetical error and make correction for evaluation;

Qualification Criteria:

· Valid Business Registration Certificate

· Current Tax Clearance Certificate

· PPCC Vendor Registration Certificate

